## Sheet1
Asset ID | Equipment Name | Location | Manufacturer | Model | Serial Number | Install Date | Last PM Date | Next PM Due | PM Freq (mo) | Criticality | Status | Warranty Exp | Tech Assigned | WO History | Downtime Hrs | Notes
AHU-04 | Air Handling Unit | East Wing Surg. Pavilion PH | AeroTherm Systems | ATX-4200 | 04-2020-1738 | 2020-03-15 | 2025-09-15 | 2026-03-15 | 6 | 5 | Active | 2025-03-15 | J. Morales | 18 | 4.5 | Belt fraying; coil dusty
CHLR-02 | Chiller Plant #2 | Central Utility Plant | CoolTech | CT-8500 | 19-2019-9921 | 2019-06-20 | 2025-08-01 | 2025-11-01 | 3 | 5 | Active | 2024-06-20 | R. Singh | 45 | 12.0 | Nearing capacity limit
GEN-01 | Emergency Generator | North Tower Sub-Basement | PowerGen Corp. | PGX-600 | 11-2018-4483 | 2018-11-11 | 2025-07-10 | 2025-10-10 | 3 | 5 | Active | 2023-11-11 | C. Edwards | 52 | 6.0 | Load bank test due
PUMP-07 | Domestic Water Pump | West Wing Mech Room B2 | HydroFlow | HF-220 | 07-2021-8842 | 2021-07-09 | 2025-06-01 | 2025-12-01 | 6 | 4 | Active | 2026-07-09 | A. Nguyen | 12 | 1.5 | Minor seal leak observed
BOIL-01 | Steam Boiler #1 | Central Utility Plant | HeatMaster | HM-3000 | 01-2017-6629 | 2017-01-20 | 2025-05-15 | 2025-11-15 | 6 | 5 | Active | 2022-01-20 | K. Ramirez | 77 | 22.0 | Refractory repairs pending
ELEV-05 | Patient Elevator #5 | South Wing Elevator Bank | LiftWorks | LX-200 | 05-2015-7342 | 2015-05-03 | 2025-09-01 | 2025-10-01 | 1 | 4 | Active | 2020-05-03 | M. Patel | 103 | 30.0 | Door sensor intermittence
AHU-09 | Air Handling Unit | North Wing Mech Penthouse | AeroTherm Systems | ATX-3400 | 09-2022-1276 | 2022-09-12 | 2025-09-10 | 2026-03-10 | 6 | 3 | Active | 2027-09-12 | L. Chen | 5 | 0.0 | Operating normally
UPS-03 | Uninterruptible Power | IT Data Center | SecurePower | SPX-2000 | 03-2023-9812 | 2023-03-25 | 2025-08-20 | 2025-11-20 | 3 | 5 | Active | 2028-03-25 | C. Edwards | 9 | 0.5 | Battery trending low
STER-02 | Sterilizer Autoclave | Central Sterile Processing | MedEquip | ME-450 | 02-2021-4127 | 2021-02-01 | 2025-07-30 | 2026-01-30 | 6 | 5 | Active | 2026-02-01 | D. O’Connor | 33 | 2.0 | Chamber gasket replacement due
VAC-01 | Medical Vacuum Pump | North Tower Sub-Basement | VacuTech | VT-1600 | 01-2018-7735 | 2018-01-17 | 2025-09-05 | 2026-03-05 | 6 | 5 | Active | 2023-01-17 | K. Ramirez | 66 | 14.0 | Oil leak; monitor closely